Frequently Asked Questions for MAQS

Q: What is this app used for?
A: The MAQS2 (Mobile Air Quality Sensing) app is used to monitor user location patterns and collect corresponding room air quality information.

Q: How do you use this app?
A: Open the MAQS2 application and leave it running throughout the day. You can still press the power button to dim the screen and let it run on low power mode. It is best to keep the E-pod near the phone.

Q:  How do you connect an Mpod with your phone?
1.  You must turn the Bluetooth function on in your phone.
You can do this by going to menu-settings then Wireless & networks.
Once there you simply select the option to turn “on” Bluetooth.
2.  Pair the device in your phone
You can do this by going to menu-settings then Wireless & Networks.
Once there you select bluetooth settings and you will go into a new
control panel. Click the option Scan for devices, you will see the
ENV-SENSOR in the list - click that. The system will ask you input a
PIN, which is 12345.
3.  Co back to the MAQS2 application and select the mpod.

Q:  How do I turn off the Mpod
A:  To turn off the Mpod you must open the blue case so that you can access the red and blue button.  You will see the lights dim when the Mpod is off.  You don’t need to turn off the Mpod unless you want to save battery life.

Q: How do I charge and how often should I charge the Mpod
A:  The phone and Mpod should each be charged overnight every night, using the supplied USB chargers.

Q: How do I check to make sure the app is working?
A: Open the app and go to the ‘settings’ tab.  If the button on the right says ‘start service’, it means the app is not currently working, so you should press ‘start service’.  If the service is started but the app is not getting data, check to see what it says next to ‘MPOD:’.  If it says disconnected, there is a problem with a connection and you can try a few things: 1. Stop and start the service.  2.  Press the reset button on the Mpod using a paperclip. 3.  Make sure the Mpod is not more than 20 feet away from the phone.  If it is farther than that the Bluetooth connection may disconnect.

Q: What do I do if the app asks you to connect using WiFi?
A: First, exit the MAQS2 app using the home button (Looks like a small house).  Next, press the menu button ( it is directly to the left of the home button).  You should see a small menu pop up from the bottom of the screen.  Press on the bottom of these menu icons, on the one that says ‘Settings’.  Select Wireless and Network settings.  Then, press the button that says WiFi so that it turns off.  Wait a few moments, and then turn it back on.  It should connect to UCB Wireless.  If it does not connect to UCB Wireless you can select WiFi Settings, and manually select the network you wish to join.  Exit using the home button and reopen the MAQS2 App.  Wait 30 seconds or so and it should vibrate twice, inviting you to select your location.  If this does not work, please email your contact.

Q:  How do I connect to a new WiFi network?
A:  Repeat the steps above until you are in the WiFi settings menu.  Select the network you would like to join and enter the username and password.  Exit the screen and reopen the MAQS2 App.

Q: How do you name rooms?
A:  There are many people naming the same buildings and rooms and it is important to remain consistent.
Buildings:  Use the full name of the building as it would appear in the address.  Good example: Engineering Center.  Bad example:  EC.  If the building is your home, you should write your name followed by ‘home’ (Eg.  ‘Max Home’).  If you are at someone else’s home, write the address in the ‘building’ field.  If you are at a grocery store, write the name of the grocery store and the street is is on.
Room:  Be as specific as possible.  Instead of writing ‘Thermo Class’, write the actual room number.
If you are in a residence, you may simply write the type of room you are in eg. ‘kitchen’.

Q: Will this app use my phone’s data plan?
A: No, all the data our app transmits through WiFi connection. If you do not have WiFi connection on your phone, we will log all the data to a local file.
Note: you could press “setting”-> “Wireless & networks” -> “Wi-Fi settings” -> “menu” button, choose “Advanced” -> “Wi-Fi sleep policy” -> “Never” to set the WiFi connection stable.

Q: What information can I get from your system.
A: You can obtain your personalized indoor air quality information from our website. You can zoom in to look at specific time ranges, specific pollutants and specific rooms and learn about the air quality there.

Q: If I need to input room, do I need to input multiple times?
A: You do not need to type the room name in again because once you input room location the corresponding information will be logged to the system.  However, the room and building information already in the system will appear in the spinner as candidates, which must be selected/confirmed each time you move between rooms.

Q: What if I want to rename a room I entered before? E.g., I named a room as “my office”, but later I move to another office.
A:  This issue is not addressed in the current system.  If you decide you would like to change room names, please do so, and keep names consistent with the naming scheme.

Q: How does the sun flower figure correspond to air quality level?
A: That capability is not configured yet

Q: Before using this app, what do I need to do?
A: You need to go to http://car.colorado.edu:443 to register your own account, input your phone’s IMEI and Bluetooth Mac address information.
You can find the IMEI or Bluetooth Mac address by doing the following: press “setting” -> “About phone “ -> “Status”, you could find Bluetooth Mac address and phone IMEI (or sometimes call “MEID”)

Q: How do I download my personal data?
A: You need to log in, go to “Your IAQ Report”, choose the time span and click the “download” button. All types of data along with timestamp and gps information will be downloaded to your local disk in the format of csv file.